City of Madison, Florida

***2019 Annual Drinking Water Quality Report***

We're pleased to present to you this year's **Annual Water Quality Report**. This report is designed to inform you about the quality water and services we deliver to you every day. Our constant goal is to provide you with a safe and dependable supply of drinking water. We want you to understand the efforts we make to continually improve the water treatment process and protect our water resources. We are committed to ensuring the quality of your water. The city’s water is secured from three wells located around the City. Your water is drawn from the prestigious Floridan Aquifer and is chlorinated for disinfection purposes then fluoridated for dental health purposes; a sequestering agent is also added for the purpose of corrosion control.

If you have any questions about this report or concerning your water utility, please contact **Mr. Johnny Webb,** Water Superintendent for the City of Madison at (850) 973-5081**.** If you want to learn more, please attend any of our regularly scheduled meetings. They are held onthe second Tuesday of each month at 5:30 p.m. at City Hall, 321 SW. Rutledge St., Madison, FL.

The **City of Madison** routinely monitors for contaminants in your drinking water according to Federal and State laws, rules, and regulations. Except where indicated otherwise, this report is based on the results of our monitoring for the period of January 1 to December 31,2019. Data obtained before January 1, 2019, and presented in this report are from the most recent testing done in accordance with the laws, rules, and regulations.

The Department of Environmental Protection has performed a Source Water Assessment on our system in 2018. These assessments were conducted to provide information about any potential sources of contamination in the vicinity of our wells. Four (4) potential sources of contamination was identified with moderate to low susceptibility to city wells. The assessment results are available on the FDEP Source Water Assessment and Protection Program website at [**www.dep.state.fl.us/swapp**](http://www.dep.state.fl.us/swapp).

Thank you for allowing us to continue providing your family with clean, quality water this year. In order to maintain a safe and dependable water supply we sometimes need to make improvements that will benefit all of our customers. These improvements are sometimes reflected as rate structure adjustments. Thank you for understanding.

The sources of drinking water (both tap water and bottled water) include rivers, lakes, streams, ponds, reservoirs, springs and wells.  As water travels over the surface of the land or through the ground, it dissolves naturally occurring minerals and, in some cases, radioactive material, and can pick up substances resulting from the presence of animals or from human activity.

Contaminants that may be present in source water include:

(A) *Microbial contaminants*, such as viruses and bacteria, which may come from sewage treatment plants, septic systems, agricultural livestock operations, and wildlife.

(B) Inorganic contaminants, such as salts and metals, which can be naturally-occurring or result from urban stormwater runoff, industrial or domestic wastewater discharges, oil and gas production, mining, or farming.

(C) Pesticides and herbicides, which may come from a variety of sources such as agriculture, urban stormwater runoff, and residential uses.

(D) Organic chemical contaminants, including synthetic and volatile organic chemicals, which are by-products of industrial processes and petroleum production, and can also come from gas stations, urban stormwater runoff, and septic systems.

(E) Radioactive contaminants, which can be naturally occurring or be the result of oil and gas production and mining activities.

In order to ensure that tap water is safe to drink, the USEPA prescribes regulations which limit the amount of certain contaminants in water provided by public water systems.  The Food and Drug Administration (FDA) regulations establish limits for contaminants in bottled water, which must provide the same protection for public health.

If present, elevated levels of lead can cause serious health problems, especially for pregnant women and young children. Lead in drinking water is primarily from components associated with service lines and home plumbing. Madison Water Department is responsible for providing high quality drinking water, but cannot control the variety of materials used in plumbing components. When your water has been sitting for several hours, you can minimize the potential for lead exposure by flushing your tap for 30 seconds to 2 minutes before using water for drinking and cooking. If you are concerned about lead in your water, you may wish to have your water tested. Information on lead in drinking water, testing methods, and steps you can take to minimize exposure is available from the Safe Drinking Water Hotline 0r at http:// www.epa.gov/safewater/lead.

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.

Some people may be more vulnerable to contaminants in drinking water than the general population. Immuno-compromised persons such as persons with cancer undergoing chemotherapy, persons who have undergone organ transplants, people with HIV/AIDS or other immune system disorders, some elderly, and infants can be particularly at risk from infections. These people should seek advice about drinking water from their health care providers. EPA/CDC guidelines on appropriate means to lessen the risk of infection by Cryptosporidium and other microbiological contaminants are available from the Safe Drinking Water Hotline (800-426-4791).

In the table below, you may find unfamiliar terms and abbreviations. To help you better understand these terms we've provided the following definitions:

**Maximum Contaminant Level or MCL**: The highest level of a contaminant that is allowed in drinking water. MCLs are set as close to the MCLGs as feasible using the best available treatment technology.

**Maximum Contaminant Level Goal or MCLG**: The level of a contaminant in drinking water below which there is no known or expected risk to health. MCLGs allow for a margin of safety.

***Maximum residual disinfectant level or MRDL:*** *The highest level of a disinfectant allowed in drinking water. There is convincing evidence that addition of a disinfectant is necessary for control of microbial contaminants.*

***Maximum residual disinfectant level goal or MRDLG:*** *The level of a drinking water disinfectant below which there is no known or expected risk to health. MRDLGs to not reflect the benefits of the use of disinfectants to control microbial contaminants.*

***Action Level (AL)****: The concentration of a contaminant that, if exceeded, triggers treatment or other requirements that a water system must follow.*

***Parts per million (ppm) or Milligrams per liter (mg/l)*** *– one part by weight of analyte to 1 million parts by weight of the water sample.*

***Parts per billion (ppb) or Micrograms per liter (µg/l)*** *– one part by weight of analyte to 1 billion parts by weight of the water sample.*

***Picocurie per liter (pCi/L)*** *- measure of the radioactivity in water.*

The state allows us to monitor for some contaminants less than once per year because the concentration of these contaminants does not change frequently. Some of our data, though representative, are more than one year old.

**Water Quality Results**

| **Radioactive Contaminants** | | | | | | | |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Contaminant and Unit of Measurement** | **Dates of sampling (mo/yr)** | **MCL Violation Y/N** | **Level Detected** | **Range of Results** | **MCLG** | **MCL** | **Likely Source of Contamination** |
| Radium 226 + 228 or combined radium (pCi/L) | 07/2017 | N | 1.1 | 0.4 – 1.1 | 0 | 5 | Erosion of natural deposits |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| **Inorganic Contaminants** | | | | | | | |
| **Contaminant and Unit of Measurement** | **Dates of sampling (mo./yr.)** | **MCL Violation Y/N** | **Level Detected** | **Range of Results** | **MCLG** | **MCL** | **Likely Source of Contamination** |
| Nitrate (as Nitrogen) (ppm) | 02/2019, 06/2019 | N | 0.389 | 0.241 - 0.389 | 10 | 10 | Runoff from fertilizer use; leaching from septic tanks, sewage; erosion of natural deposits |
| Barium (ppm) | 07/2017 | N | 0.0053 | ND - 0.0053 | 2 | 2 | Discharge of drilling wastes; discharge from metal refineries; erosion of natural deposits |
| Chromium (ppb) | 07/2017 | N | 1.0 | ND - 1.0 | 100 | 100 | Discharge from steel and pulp mills; erosion of natural deposits |
| Fluoride (ppm) | 07/2017 | N | 0.988 | 0.773 - 0.988 | 4 | 4.0 | Erosion of natural deposits; discharge from fertilizer and aluminum factories. Water additive which promotes strong teeth when at the optimum level of 0.7 ppm |
| Sodium (ppm) | 07/2017 | N | 3.44 | 3.03 - 3.44 | N/A | 160 | Salt water intrusion, leaching from soil |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Stage 1 Disinfectants | | | | | | | |
| For chlorine, the level detected is the the highest running annual average (RAA), computed quarterly, of monthly averages of all samples collected.  For haloacetic acids or TTHM, the level detected is the  highest result of all samples taken during the year if the system monitors less frequently than quarterly. Range of Results is the range of individual sample results (lowest to highest) for all monitoring locations. | | | | | | | |
| **Contaminant and**  **Unit of Measurement** | **Dates of sampling (mo./yr.)** | **MCL Violation Y/N** | **Level Detected** | **Range of Results** | MCLG or MRDLG | **MCL or MRDL** | **Likely Source of Contamination** |
| Chlorine (ppm) | 01/2019 - 12/2019 | N | 1.09 | 0.5 - 1.67 | MRDLG = 4 | MRDL = 4.0 | Water additive used to control microbes |

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Stage 2 Disinfection By-Products | | | | | | | |
| **Contaminant and**  **Unit of Measurement** | **Dates of sampling (mo/yr)** | **MCL Violation (Y/N)** | **Level Detected** | **Range of Results** | **MCLG** | **MCL** | **Likely Source of Contamination** |
| Haloacetic Acids (five) (HAA5) (ppb) | 08/2019 | N | 15.8 | 7.91 - 15.8 | N/A | MCL = 60 | By-product of drinking water disinfection |
| Total trihalomethanes (TTHM) (ppb) | 08/2019 | N | 42.2 | 7.82 - 42.2 | N/A | MCL = 80 | By-product of drinking water disinfection |

*We failed to complete required Disinfection By-Products sampling on time during the annual sampling period of July 2019, and therefore were in violation of monitoring and reporting requirements. Because we did not take the required samples, we did not know whether the contaminants were present in your drinking water at that time, and we are unable to tell you whether your health was at risk during that time. Sampling resumed August 20, 2019. The levels of Disinfection Byproducts are shown in the Test Results Table above.*

|  |  |  |  |  |  |  |  |
| --- | --- | --- | --- | --- | --- | --- | --- |
| Lead and Copper (Tap Water) | | | | | | | |
| **Contaminant and Unit of Measurement** | **Dates of sampling (mo./yr.)** | **AL Violation Y/N** | **90th Percentile Result** | **No. of sampling sites exceeding the AL** | **MCLG** | **AL (Action Level)** | **Likely Source of Contamination** |
| Copper (tap water) (ppm) | 11/2017 | N | 0.303 | 0 of 20 | 1.3 | 1.3 | Corrosion of household plumbing systems; erosion of natural deposits; leaching from wood preservatives |
| Lead (tap water)  (ppb) | 11/2017 | N | 2.8 | 1 of 20 | 0 | 15 | Corrosion of household plumbing systems, erosion of natural deposits |

*Due to administrative error, our system received violations for late submission of bacteriological sample results in the monthly sampling periods of April, September, and November 2019. This violation has no impact on the quality of the water our customers received, and it posed no risk to public health.*

*We failed to complete required bacteriological (coliform) sampling on time during the sampling month of November 2019, and therefore were in violation of monitoring and reporting requirements. Because we did not take the required number of samples, we did not know whether the contaminants were present in your drinking water, and we are unable to tell you whether your health was at risk during that time. Eight samples were required, and four were taken. Sampling resumed on December 3, 2019, and no coliforms were detected.*

All drinking water, including bottled water, may reasonably be expected to contain at least small amounts of some contaminants.  The presence of contaminants does not necessarily indicate that the water poses a health risk.  More information about contaminants and potential health effects can be obtained by calling the Environmental Protection Agency’s Safe Drinking Water Hotline at 1-800-426-4791.**Copies of the City** **of Madison 2019 Annual Drinking Water Report will not be mailed this year Copies of the City of Madison’s 2019 Annual Drinking Water Quality Report are available at City Hall, 321 SW Rutledge Street, Madison, Florida 32340.**

*We at the City of Madison would like you to understand the efforts we make to continually improve the water treatment process and protect our water resources. We are committed to insuring the quality of your water. If you have any questions or concerns about the information provided, please feel free to call any of the numbers listed.*